Abstract :

LaBr3:Ce scintillators have recently become commercially available in sizes large enough for measurements of high energy gamma-rays. In this presentation, we shall report our studies on properties and response of large volume square bars ( 2”X2”X8”) of LaBr3:Ce detectors, individually, and in a compact array of four square bars, with gamma-rays up to 22.5 MeV. The properties studied are, uniformity of the crystal, internal radioactivity, energy resolution, timing resolution, linearity of the response and detection efficiencies. The response of the detectors for 22.5 MeV gamma-rays produced from 11B( p, gamma)12C capture reaction and for 15.1 MeV gamma-rays produced from 12C(p,p'gamma)12C, inelastic scattering reaction are studied in detail. The measured absolute efficiencies (both total detection and photo-peak) for 662 keV gamma-rays from 137Cs are compared to those obtained using realistic GEANT4 simulations. The primary aim of the array is to measure high energy gamma-rays (5–50 MeV) produced from the de-excitation of excited Giant Dipole Resonance (GDR) states, radiative capture reactions, nuclear Bremsstrahlung process and inelastic scattering process. The highly satisfactory performance of the array provides the impetus for future efforts toward building a bigger array.